{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["废水比对","废气排放","废水排放","无组织"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废水比对","index":0,"n_rows":21,"n_cols":14,"rows_kept":21,"merged":[[1,0,20,0],[1,1,5,1],[6,1,10,1],[11,1,15,1],[16,1,20,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","样品类型","手动监测值","自动监测值","比对结果","技术要求"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","68","71","4.41%","相对误差不超过±20%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","42","47","11.9%","相对误差不超过±30%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","43","45","4.65%","相对误差不超过±30%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","标准样","250","238","-4.8%","相对误差不超过±10%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","实际样","7.3","7.1","-0.2pH","绝对误差不超过±0.5pH"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","实际样","7.3","6.9","-0.4pH","绝对误差不超过±0.5pH"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","22","25","3mg/L","绝对误差不超过±5mg/L"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","21","25","4mg/L","绝对误差不超过±5mg/L"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","22","25","3mg/L","绝对误差不超过±5mg/L"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口(DW001)","化学需氧量","2024-07-16","标准样","243","250","2.88%","相对误差不超过±10%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","化学需氧量","2024-07-17","实际样","156","147","-5.77%","相对误差不超过±15%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","化学需氧量","2024-07-17","实际样","117","109","-6.84%","相对误差不超过±15%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","化学需氧量","2024-07-17","实际样","103","95","-7.77%","相对误差不超过±15%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","化学需氧量","2024-07-17","标准样","244","250","2.46%","相对误差不超过±10%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","pH值","2024-07-17","实际样","6.9","6.8","-0.1pH","绝对误差不超过±0.5pH"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","实际样","7.3","7.1","-0.2pH","绝对误差不超过±0.5pH"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","68","71","4.41%","相对误差不超过±20%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","42","47","11.9%","相对误差不超过±30%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","实际样","43","45","4.65%","相对误差不超过±30%"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","标准样","238","250","5.04%","相对误差不超过±10%"]

{"sheet":"废气排放","index":1,"n_rows":25,"n_cols":24,"rows_kept":25,"merged":[[1,0,24,0],[1,1,24,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/h)","温度(°C)","湿度(%)","含氧量(%)","流速(m/s)","生产负荷(%)","实测浓度","折算浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","焊接废气排放口QF5","颗粒物","2024-07-03","8723","29.6","3.2","","3.3","","1.1","1.1","20","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","烘干废气排放口QF4","非甲烷总烃","2024-07-03","2949","120.8","2.4","","6.2","","6.89","6.89","60","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","烘干废气排放口QF4","二甲苯","2024-07-03","2949","120.8","2.4","","6.2","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","烘干废气排放口QF4","苯","2024-07-03","2949","120.8","2.4","","6.2","","<0.004","<0.004","1","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","烘干废气排放口QF4","甲苯","2024-07-03","2949","120.8","2.4","","6.2","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","发电机喷漆房废气排放口QF1","苯","2024-07-03","61846","30.5","2.4","","13.7","","<0.004","<0.004","1","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","发电机喷漆房废气排放口QF1","二甲苯","2024-07-03","61846","30.5","2.4","","13.7","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","发电机喷漆房废气排放口QF1","非甲烷总烃","2024-07-03","61846","30.5","2.4","","13.7","","2.24","2.24","60","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","发电机喷漆房废气排放口QF1","颗粒物","2024-07-03","61846","30.5","2.4","","13.7","","1.1","1.1","20","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","发电机喷漆房废气排放口QF1","甲苯","2024-07-03","61846","30.5","2.4","","13.7","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","压力容器车间喷漆废气排放口QF2","二甲苯","2024-07-03","14263","31.4","2.3","","4","","0.327","0.327","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","压力容器车间喷漆废气排放口QF2","非甲烷总烃","2024-07-03","14263","31.4","2.3","","4","","6.80","6.80","60","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","压力容器车间喷漆废气排放口QF2","颗粒物","2024-07-03","14263","31.4","2.3","","4","","1.4","1.4","20","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","压力容器车间喷漆废气排放口QF2","甲苯","2024-07-03","14263","31.4","2.3","","4","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","压力容器车间喷漆废气排放口QF2","苯","2024-07-03","14263","31.4","2.3","","4","","<0.004","<0.004","1","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","危废库废气排放口QF6","苯","2024-07-03","811","29.8","2.2","","2.1","","<0.004","<0.004","1","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","危废库废气排放口QF6","二甲苯","2024-07-03","811","29.8","2.2","","2.1","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","危废库废气排放口QF6","甲苯","2024-07-03","811","29.8","2.2","","2.1","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","危废库废气排放口QF6","非甲烷总烃","2024-07-03","811","29.8","2.2","","2.1","","1.06","1.06","60","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","冲压车间涂漆废气排放口QF3","颗粒物","2024-07-03","3138","38.8","2.5","","14.5","","1.7","1.7","20","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","冲压车间涂漆废气排放口QF3","非甲烷总烃","2024-07-03","3138","38.8","2.5","","14.5","","9.27","9.27","60","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","冲压车间涂漆废气排放口QF3","二甲苯","2024-07-03","3138","38.8","2.5","","14.5","","<0.004","<0.004","10","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","冲压车间涂漆废气排放口QF3","苯","2024-07-03","3138","38.8","2.5","","14.5","","<0.004","<0.004","1","","mg/m3","否","","","是"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","南京汽轮电机（集团）有限责任公司","水环境,大气环境","汽轮机及辅机制造","大气污染物综合排放标准（江苏省）(DB32/4041-2021)","表1 大气污染物有组织排放限值,其他","冲压车间涂漆废气排放口QF3","甲苯","2024-07-03","3138","38.8","2.5","","14.5","","<0.004","<0.004","10","","mg/m3","否","","","是"]

{"sheet":"废水排放","index":2,"n_rows":76,"n_cols":22,"rows_kept":76,"merged":[[1,0,75,0],[1,1,15,1],[16,1,30,1],[31,1,60,1],[61,1,75,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","受纳水体","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/s)","水温(°C)","生产负荷(%)","进口浓度","排放浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-17","","29.7","","","57","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-17","","29.7","","","0.33","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-17","","29.7","","","17","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-17","","29.7","","","7.4","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-17","","29.7","","","0.84","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放(DW001)","石油类","2024-07-17","","30.2","","","0.88","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放(DW001)","动植物油","2024-07-17","","30.2","","","0.44","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放(DW001)","化学需氧量","2024-07-17","","30.2","","","67","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放(DW001)","pH值","2024-07-17","","30.2","","","7.3","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放(DW001)","悬浮物","2024-07-17","","30.2","","","18","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-17","","30.3","","","7.3","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-17","","30.3","","","0.40","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-17","","30.3","","","22","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-17","","30.3","","","0.81","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第二医院钟阜院区","水环境","专科医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-17","","30.3","","","72","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","31.1","","","0.53","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","31.1","","","7.3","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口(DW001)","化学需氧量","2024-07-16","","31.1","","","23","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","31.1","","","6","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","31.1","","","0.50","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","34.3","","","7.3","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","34.3","","","21","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","34.3","","","7","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","34.3","","","0.26","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","34.3","","","0.15","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","35.6","","","23","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","35.6","","","0.17","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","35.6","","","6","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","35.6","","","0.13","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京市第三医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","35.6","","","7.4","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","石油类","2024-07-16","","29.4","","","1.93","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","悬浮物","2024-07-16","","29.4","","","23","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","化学需氧量","2024-07-16","","29.4","","","123","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","动植物油","2024-07-16","","29.4","","","1.30","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","pH值","2024-07-16","","29.4","","","6.8","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW001","动植物油","2024-07-16","","29.5","","","1.40","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW001","化学需氧量","2024-07-16","","29.5","","","117","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW001","pH值","2024-07-16","","29.5","","","6.8","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW001","悬浮物","2024-07-16","","29.5","","","17","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW001","石油类","2024-07-16","","29.5","","","1.44","20","","mg/KG","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","29.9","","","0.80","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","29.9","","","1.39","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","29.9","","","6.8","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","29.9","","","15","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","29.9","","","103","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","29.1","","","0.34","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","29.1","","","6.9","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","29.1","","","0.14","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","29.1","","","154","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","29.1","","","18","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","石油类","2024-07-16","","29.8","","","0.64","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","悬浮物","2024-07-16","","29.8","","","28","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","化学需氧量","2024-07-16","","29.8","","","114","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","动植物油","2024-07-16","","29.8","","","1.61","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW002)","pH值","2024-07-16","","29.8","","","6.7","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW002","石油类","2024-07-16","","30.1","","","0.91","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW002","动植物油","2024-07-16","","30.1","","","0.27","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口DW002","化学需氧量","2024-07-16","","30.1","","","108","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表1）传染病、结核病医疗机构水污染物排放限值在（日均值）,采用其他消毒方式","污水排放口DW002","pH值","2024-07-16","","30.1","","","6.8","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京鼓楼医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口DW002","悬浮物","2024-07-16","","30.1","","","33","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","35.6","","","27","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","35.6","","","7.3","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","35.6","","","0.40","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","35.6","","","0.33","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","35.6","","","68","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","35.2","","","0.13","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","35.2","","","42","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","35.2","","","7.2","9","6","无量纲","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","35.2","","","32","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","35.2","","","0.55","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","化学需氧量","2024-07-16","","35.9","","","43","250","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","石油类","2024-07-16","","35.9","","","0.58","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","悬浮物","2024-07-16","","35.9","","","38","60","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","动植物油","2024-07-16","","35.9","","","0.28","20","","mg/L","否","","","是"]
["南京鼓楼医院、南京市第三医院、南京医科大学第二附属医院、南京市第二医院（钟阜院区）","南京医科大学第二附属医院","水环境","综合医院","","医疗机构水污染物排放标准(GB18466-2005)","（表2）综合医疗机构和其他医疗机构水污染物排放限值（日均值）,采用其他消毒方式,预处理标准","污水排放口(DW001)","pH值","2024-07-16","","35.9","","","7.2","9","6","无量纲","否","","","是"]

{"sheet":"无组织","index":3,"n_rows":21,"n_cols":20,"rows_kept":21,"merged":[[1,0,20,0],[1,1,20,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","风向","风速（m/s）","温度(℃)","压力（kPa）","排放浓度","上限","下限","单位","是否超标","超标倍数","备注"]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW2","颗粒物","2024-07-03","东南","2.8","","100.7","0.225","0.5","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW2","苯","2024-07-03","","","","","<0.0005","0.1","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW2","二甲苯","2024-07-03","","","","","<0.0005","0.2","","mg/L","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW2","NMHC","2024-07-03","","","","","0.54","4","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW2","甲苯","2024-07-03","","","","","0.0009","0.2","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW4","二甲苯","2024-07-03","","","","","<0.0005","0.2","","mg/L","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW4","颗粒物","2024-07-03","","","","","0.219","0.5","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW4","NMHC","2024-07-03","","","","","0.52","4","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW4","苯","2024-07-03","","","","","<0.0005","0.1","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW4","甲苯","2024-07-03","","","","","0.0011","0.2","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW3","苯","2024-07-03","","","","","<0.0005","0.1","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW3","甲苯","2024-07-03","","","","","0.0010","0.2","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW3","NMHC","2024-07-03","","","","","0.42","4","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW3","二甲苯","2024-07-03","","","","","<0.0005","0.2","","mg/L","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界下风向QW3","颗粒物","2024-07-03","","","","","0.221","0.5","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界上风向QW1","NMHC","2024-07-03","","","","","0.38","4","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界上风向QW1","颗粒物","2024-07-03","","","","","0.193","0.5","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界上风向QW1","苯","2024-07-03","","","","","<0.0005","0.1","","mg/m3","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界上风向QW1","二甲苯","2024-07-03","","","","","<0.0005","0.2","","mg/L","否","",""]
["招商局金陵船舶（南京）有限公司、南京汽轮电机（集团）有限责任公司","招商局金陵船舶（南京）有限公司","水环境,大气环境","铁路、船舶、航空航天和其他运输设备制造业","大气污染物综合排放标准（江苏省地方标准）(DB32/4041-2021)","表3","厂界上风向QW1","甲苯","2024-07-03","","","","","0.0010","0.2","","mg/m3","否","",""]