{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":8,"rows_kept":7,"merged":[[0,0,0,7]]}
["鼓楼区2024年消防产品监督抽查情况汇总表"]
["序号","产品名称","标称商标","规格型号","生产企业名称","受检单位名称","抽查结果","不合格项目"]
[1,"手提式干粉灭火器","景盛消防（图形）","MFZ/ABC3","浙江景盛消防器材有限公司","南京金桥装饰城联线五金经营部","合格","——"]
[2,"手提式干粉灭火器","——","MFZ/ABC1","山东齐鲁安防科技有限公司","鼓楼区给力交通消防器材商行","不合格","爆破实验"]
[3,"手提式干粉灭火器","景盛消防（图形）","MFZ/ABC2","浙江景盛消防器材有限公司","鼓楼区云捷机电经营部","合格","——"]
[4,"手提式干粉灭火器","利生（图形）","MFZ/ABC4","浙江东江消防设备有限公司","南京市鼓楼区能通交通设备经营部","合格","——"]
[5,"手提式干粉灭火器","——","MFZ/ABC4","高邮市东方消防器材有限公司","南京一本消防器材经营部","合格","——"]