{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":17,"n_cols":8,"rows_kept":17,"merged":[[0,0,0,7]]}
["鼓楼区2025年燃气具及配件产品监督抽查情况汇总表"]
["序号","产品名称","标称商标","规格型号","生产企业名称","受检单位名称","抽查结果","不合格项目"]
[1,"家用燃气灶具","——","JZT-Z2115A","深圳创维智能厨电有限公司","南京市鼓楼区王秋萍不锈钢日杂店","未发现不合格","——"]
[2,"家用燃气灶","——","JZT-B8429B","华帝股份有限公司","南京市鼓楼区碧鸿厨具经营部","未发现不合格","——"]
[3,"家用燃气灶","——","JZT-A6","中山市威华仕厨卫电器有限公司","南京市鼓楼区梦亦捷五金经营部","未发现不合格","——"]
[4,"家用燃气灶具","——","JZT-DC585","安徽省大成集成厨电有限公司","南京市鼓楼区云勤智装饰材料经营部","未发现不合格","——"]
[5,"家用燃气灶具","图形","JZY-XYQS-3002","西因科技有限公司","南京金桥市场万生不锈钢制品经营部","未发现不合格","——"]
[6,"燃气输送用不锈钢波纹软管","——","RSB-ⅡF-10（DN12）-GB/T 26002","杭州万全金属软管有限公司","南京市鼓楼区祥发厨具配件经营部","未发现不合格","——"]
[7,"普通型燃气用具连接用不锈钢波纹软管","——","RLB-AH-S-10×1000","南京吉邦管业有限公司","南京市鼓楼区碧鸿厨具经营部","未发现不合格","——"]
[8,"燃气输送用不锈钢波纹软管","航天晨光","RSB-IF-13-GB/T 26002","航天晨光股份有限公司上海分公司","南京市鼓楼区云勤智装饰材料经营部","未发现不合格","——"]
[9,"燃气用具连接用金属包覆软管","民谊","RJB-B-TY-A-10×1000","南京民族塑胶（集团）有限公司","南京市鼓楼区冯慧敏电器经营部","未发现不合格","——"]
[10,"燃气用具连接用金属包覆软管","南晨光京","RJB-B-TY-A-10×1500","南京吉邦管业有限公司","南京市鼓楼区冯慧敏电器经营部","未发现不合格","——"]
[11,"燃气用具连接用金属包覆软管","特露康","RJB-B-TY-A-10×2000","余姚市特露康管业有限公司","南京金桥市场万生不锈钢制品经营部","不合格","结构与尺寸-接头的最小壁厚项目、结构与尺寸-包覆管长度项目和内层胶管-拉断伸长率项目"]
[12,"普通型燃气用具连接用不锈钢波纹软管","图形","RLB-AH-S-10×1000","南京知行管业有限公司","南京金桥装饰城鹭云水暖经营部","未发现不合格","——"]
[13,"瓶装液化石油气调压器","图形","SYT1.2L-1/2","慈溪市博特曼电器有限公司","南京市鼓楼区祥发厨具配件经营部","未发现不合格","——"]
[14,"瓶装液化石油气调压器（家用）","良厨（图形）","JYT0.6L-1/2-108","良厨热能科技（宁波）有限公司","南京市鼓楼区王秋萍不锈钢日杂店","未发现不合格","——"]
[15,"家用可燃气体探测器","——","JT-LF-G55","深圳市凌防科技有限公司","苏宁易购官方旗舰店（苏宁易购集团股份有限公司苏宁采购中心） ","未发现不合格","——"]