{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":8,"rows_kept":7,"merged":[[0,0,0,7]]}
["鼓楼区2024年消防产品监督抽查情况汇总表"]
["序号","产品名称","标称商标","规格型号","生产企业名称","受检单位名称","抽查结果","不合格项目"]
[1,"手提式干粉灭火器","——","MF/ABCE2","京开消防科技（浙江）有限公司","南京市鼓楼区奔池消防器材经营部","合格","——"]
[2,"手提式干粉灭火器","——","MF/ABCE3","京开消防科技（浙江）有限公司","南京市鼓楼区奔池消防器材经营部","合格","——"]
[3,"手提式干粉灭火器","——","MF/ABCE2","连云港腾冰消防科技有限公司","南京市鼓楼区能通交通设备经营部","合格","——"]
[4,"手提式干粉灭火器","——","MF/ABCE3","连云港腾冰消防科技有限公司","南京市鼓楼区能通交通设备经营部","合格","——"]
[5,"手提式干粉灭火器","——","MF/ABCE4","浙江景盛消防器材有限公司","鼓楼区云捷机电经营部","合格","——"]